Construction Contact Center PAB272▪ PO Box 52025▪ Phoenix, AZ 85072-2025

 (602)236-0SRP (0777) ▪ Fax: (602)629-8583 ▪ Email: Construction@SRPnet.com ▪ Office Hours: 7:00 am - 5:00 pm

**METER LOAD SUMMARY**

Completion of this form along with **billing information** is required to establish the account

|  |  |
| --- | --- |
| **SRP JOB#:**       | **JOB NAME:**       |
| **SERVICE ADDRESS:**       |
| **SUITE:**        | **CITY:**       | **ZIP:**       |

**\*Fill out one Meter Load Summary Form per meter socket\***

|  |  |
| --- | --- |
| **METER SOCKET SIZE:**       (AMPS) | **TOTAL SERVICE ENTRANCE SECTION (SES):**       (AMPS) |
| **PHASE:**  |  1PH [ ]  | 3PH [ ]  | **VOLTAGE:**  |  120/240 [ ]  |  120/208 [ ]  | 277/480 [ ]  |
| **TOTAL SQ. FT.:**       |  **AIR CONDITIONED SQ. FT.:**       | **EVAP COOLER SQ. FT.:**       |
| **GAS:** |  YES [ ]  |  NO [ ]  | **READY FOR SRP INSPECTION?** |  YES [ ]  |  NO [ ]  |

**LOAD CALCULATIONS- ALL LOADS AT 100%**

|  |  |  |
| --- | --- | --- |
| **TYPE OF LOAD** | **TOTAL**  |  **CALULATE LOAD USING** |
| 1. LIGHTING (interior and exterior)...………………………………………….…..
 |       | KW |
| 1. AIR CONDITIONING …………………………… NUMBER OF UNITS
 |       | TONS |
| 1. MOTORS (excluding A/C and Ventilation) ….. NUMBER OF MOTOR

 SINGLE LARGEST MOTOR  TOTAL HP FOR ALL MOTORS |       |   |
|       | HP |
|       | HP |
| 1. RECEPTACLE ………………………………………………………………………………
 |       | KVA |
| 1. RESISTANCE OVENS; HEATERS; FURNACES ………………………….……..
 |       | KVA |
| 1. RESISTANCE WELDERS ………………………………………………………...…….
 |       | KVA |
| 1. MISCELLANEOUS ……………………………………………………………….……….
 |       | KVA |

TYPE OF BUSINESS: Please describe (restaurant, warehouse, school, etc.)

ON SITE CONTACT NAME:

COMPANY NAME:

PHONE NUMBER:

FORM COMPLETED BY:

COMPANY NAME:

PHONE NUMBER: